ASSEMBLY INSTRUCTIONS

Brighton Chandelier Lamp (Item#: MP150-0194 / FB150-1156)

Important Safety Instructions:

- We recommend you contact a professional electrician to install any hardwired lighting. Incorrect installation can lead to fires.

- These instructions are provided for your safety. It is very important that they are read carefully and completely before assembling fixture..

- This fixture has been rated for up to (5) 60-watt maximum TYPE B bulbs (5) 7W 120V B11 CFL bulbs. To avoid the risk of fire, do not exceed the recommended wattage.

# Pre-assembly:

- Do not discard any contents until after assembly is complete to avoid accidentally discarding small parts or hardware.

- Remove all parts and hardware from box along with any plastic protective packaging.

Parts Enclosed:                               Hardware Included:

# To install you will need: Screwdriver/Electrical tape

Care instructions:

• Wipe with soft dry cloth only

• Always avoid the use of harsh chemicals or abrasive as they may damage to the finish.

Thank you for your purchase